## Results
PAMPA
Protocol No. | APSL-DMPK-304-1910 |  | Lab Note Book no | APSL-01469-057
Source Details | CORNING-353015 |  | Donor/acceptor buffer pH | 7.4
Scientist | Manju Kiran S |  | Incubation details | 5 h at 25⁰C in humidified chamber
Reviewer | Mubarak |  | Test Concentration | 10 µM
Experiment Date | 2023-02-03 |  | Study Number | APS-DMPK-P-980-2023-0210
Compound_ID | Permeability coefficent (cm/sec) |  | % Recovery | Comments
| Pe(app) | SD
Famotidine | 2.266e-07 | 9.9127e-08 | 73.9912
Metaprolol | 5.1007e-06 | 5.2633e-07 | 81.1964
Carbamazepine | 1.5127e-05 | 2.0953e-06 | 79.708
Cyclosporin A | 5.1086e-08 | 1.2683e-08 | 31.6825
Cyclosporin B | 3.8578e-08 | 8.1997e-09 | 28.905
Cyclosporin C | 7.6396e-08 | 2.6175e-08 | 45.204
Cyclosporin D | 2.0602e-07 | 6.1294e-08 | 30.5
Cyclosporin H | 7.34e-08 | 2.7954e-08 | 26.4508
Iso Cyclosporin A | 4.2356e-08 | 1.2939e-08 | 27.848
Vaclosporine | 6.2581e-08 | 1.4726e-08 | 22.7662
Lanreotide | 1.3849e-07 | 9.7892e-08 | 42.6358
Plecanatide | 1.5663e-07 | 2.8508e-08 | 88.2632
Alpha-conotoxin MII | 1.2953e-08 | 6.3394e-09 | 71.0319
α-Amanitin | 5.5218e-08 | 2.0815e-08 | 73.7596
Romidepsin | 1.0018e-06 | 4.3312e-07 | 70.2783
Linaclotide | 1.0669e-07 | 5.3516e-08 | 74.8066

## Raw Data
Compound_ID | C control (0) | Average C control (0) | C Donor(t) | C Acceptor(t) | R | Ceq | Permeability | Mean Pe(app) | SD | Comments
Famotidine | 12.27 | 10.256 | 8.118 | 0.074 | 20.3653 | 4.9004 | 3.3813e-07 | 2.266e-07 | 9.9127e-08
20 | 9.604 |  | 8.308 | 0.0333 | 18.7773 | 4.9981 | 1.4855e-07
20 | 8.894 |  | 6.2 | 0.0323 | 39.3376 | 3.7329 | 1.9312e-07
Metaprolol | 16.516 | 16.6473 | 10.496 | 1.5446 | 30.7653 | 6.9154 | 5.6172e-06 | 5.1007e-06 | 5.2633e-07
#N/A | 17.21 |  | 11.976 | 1.6113 | 21.6079 | 7.8301 | 5.1199e-06
#N/A | 16.216 |  | 13.32 | 1.6032 | 13.5669 | 8.6333 | 4.565e-06
Carbamazepine | 97.808 | 100.5833 | 54.926 | 20.0382 | 32.1112 | 40.9709 | 1.4923e-05 | 1.5127e-05 | 2.0953e-06
#N/A | 100.334 |  | 55.148 | 22.8575 | 30.0219 | 42.2318 | 1.7316e-05
#N/A | 103.608 |  | 66.022 | 21.5272 | 20.0927 | 48.2241 | 1.314e-05
Cyclosporin A | 30.012 | 30.0153 | 7.852 | 0.0127 | 73.8118 | 4.7163 | 5.9921e-08 | 5.1086e-08 | 1.2683e-08
#N/A | 29.586 |  | 10.134 | 0.01 | 66.215 | 6.0844 | 3.6553e-08
#N/A | 30.448 |  | 10.504 | 0.0161 | 64.9688 | 6.3088 | 5.6783e-08
Cyclosporin B | 0.296 | 0.344 | 0.082 | 0.0001 | 76.1434 | 0.04924 | 4.5176e-08 | 3.8578e-08 | 8.1997e-09
Dilution Factor | 0.342 |  | 0.126 | 0.0001 | 63.3527 | 0.07564 | 2.9398e-08
1 | 0.394 |  | 0.09 | 0.0001 | 73.8178 | 0.05404 | 4.116e-08
Cyclosporin C | 1.138 | 1.16 | 0.39 | 0.0011 | 66.3161 | 0.23444 | 1.0451e-07 | 7.6396e-08 | 2.6175e-08
1 | 1.15 |  | 0.562 | 0.0008 | 51.5057 | 0.33752 | 5.2734e-08
20 | 1.192 |  | 0.618 | 0.0012 | 46.6552 | 0.37128 | 7.194e-08
Cyclosporin D | 0.206 | 0.2 | 0.088 | 0.0005 | 55.8333 | 0.053 | 2.1064e-07 | 2.0602e-07 | 6.1294e-08
20 | 0.204 |  | 0.042 | 0.0003 | 78.9 | 0.02532 | 2.6487e-07
20 | 0.19 |  | 0.052 | 0.0002 | 73.9333 | 0.03128 | 1.4254e-07
Cyclosporin H | 0.502 | 0.53533 | 0.106 | 0.0003 | 80.1619 | 0.06372 | 1.0487e-07 | 7.34e-08 | 2.7954e-08
20 | 0.568 |  | 0.144 | 0.0002 | 73.076 | 0.08648 | 5.1452e-08
#N/A | 0.536 |  | 0.174 | 0.0003 | 67.4595 | 0.10452 | 6.3875e-08
Iso Cyclosporin A | 10.402 | 10.962 | 2.164 | 0.0031 | 80.2402 | 1.2996 | 5.3069e-08 | 4.2356e-08 | 1.2939e-08
#N/A | 11.71 |  | 3.442 | 0.0026 | 68.5848 | 2.0662 | 2.798e-08
#N/A | 10.774 |  | 3.542 | 0.0044 | 67.6616 | 2.127 | 4.6018e-08
Vaclosporine | 96.356 | 100.786 | 20.01 | 0.0256 | 80.1291 | 12.0162 | 4.7394e-08 | 6.2581e-08 | 1.4726e-08
#N/A | 115.492 |  | 23.35 | 0.0484 | 76.8001 | 14.0294 | 7.6797e-08
#N/A | 90.51 |  | 25.358 | 0.0435 | 74.811 | 15.2322 | 6.3553e-08
Lanreotide | 0.464 | 0.41733 | 0.146 | 0.0009 | 64.8722 | 0.08796 | 2.2855e-07 | 1.3849e-07 | 9.7892e-08
#N/A | 0.374 |  | 0.216 | 0.0002 | 48.2109 | 0.12968 | 3.4299e-08
| 0.414 |  | 0.17 | 0.0007 | 59.1534 | 0.10228 | 1.5261e-07
Plecanatide | 0.144 | 0.12667 | 0.118 | 0.0004 | 6.6316 | 0.07096 | 1.2562e-07 | 1.5663e-07 | 2.8508e-08
1 | 0.144 |  | 0.114 | 0.0005 | 9.7368 | 0.0686 | 1.6256e-07
1 | 0.092 |  | 0.102 | 0.0005 | 19.2105 | 0.0614 | 1.817e-07
Alpha-conotoxin MII | 0.804 | 0.814 | 0.512 | 0.0002 | 37.0844 | 0.30728 | 1.4469e-08 | 1.2953e-08 | 6.3394e-09
20 | 0.844 |  | 0.604 | 0.0003 | 25.774 | 0.36252 | 1.8397e-08
20 | 0.794 |  | 0.618 | 0.0001 | 24.0704 | 0.37084 | 5.9932e-09
α-Amanitin | 0.492 | 0.51867 | 0.342 | 0.0004 | 34.0103 | 0.20536 | 4.3327e-08 | 5.5218e-08 | 2.0815e-08
20 | 0.526 |  | 0.43 | 0.0005 | 17.0308 | 0.2582 | 4.3075e-08
20 | 0.538 |  | 0.374 | 0.0008 | 27.7892 | 0.22472 | 7.9252e-08
Romidepsin | 57.516 | 55.668 | 35.59 | 0.9267 | 34.9576 | 21.7247 | 9.6873e-07 | 1.0018e-06 | 4.3312e-07
| 53.47 |  | 44.334 | 0.6998 | 19.5219 | 26.8803 | 5.862e-07
Dilution Factor | 56.018 |  | 34.476 | 1.341 | 36.4626 | 21.222 | 1.4505e-06
Linaclotide | 0.118 | 0.11667 | 0.082 | 0.0001 | 29.6571 | 0.04924 | 4.5176e-08 | 1.0669e-07 | 5.3516e-08
1 | 0.116 |  | 0.104 | 0.0004 | 10.6286 | 0.06256 | 1.4254e-07
1 | 0.116 |  | 0.084 | 0.0003 | 27.8286 | 0.05052 | 1.3235e-07
Compound | Average Pe(app) | SD
Famotidine | 2.266e-07 | 9.9127e-08
Metaprolol | 5.1007e-06 | 5.2633e-07
Carbamazepine | 1.5127e-05 | 2.0953e-06
Cyclosporin A | 5.1086e-08 | 1.2683e-08
Cyclosporin B | 3.8578e-08 | 8.1997e-09
Cyclosporin C | 7.6396e-08 | 2.6175e-08
Cyclosporin D | 2.0602e-07 | 6.1294e-08
Cyclosporin H | 7.34e-08 | 2.7954e-08
Iso Cyclosporin A | 4.2356e-08 | 1.2939e-08
Vaclosporine | 6.2581e-08 | 1.4726e-08
Lanreotide | 1.3849e-07 | 9.7892e-08
Plecanatide | 1.5663e-07 | 2.8508e-08
Alpha-conotoxin MII | 1.2953e-08 | 6.3394e-09
α-Amanitin | 5.5218e-08 | 2.0815e-08
Romidepsin | 1.0018e-06 | 4.3312e-07
Linaclotide | 1.0669e-07 | 5.3516e-08

## Area Ratio
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Famotidine_PAMPA_Acceptor-R1 | 47046 | 635917 | 0.074 | 1 | 0.074 | 79.8752 | 73.9912
Famotidine_PAMPA_Acceptor-R2 | 21488 | 646081 | 0.0333 | 1 | 0.0333 | 81.3309
Famotidine_PAMPA_Acceptor-R3 | 23219 | 717819 | 0.0323 | 1 | 0.0323 | 60.7674
Famotidine_PAMPA_Donor-R1 | 260463 | 641722 | 0.4059 | 20 | 8.118
Famotidine_PAMPA_Donor-R2 | 290733 | 699859 | 0.4154 | 20 | 8.308
Famotidine_PAMPA_Donor-R3 | 221500 | 714544 | 0.31 | 20 | 6.2
Famotidine_PAMPA_C0-R1 | 392563 | 639904 | 0.6135 | 20 | 12.27
Famotidine_PAMPA_C0-R2 | 323169 | 672940 | 0.4802 | 20 | 9.604
Famotidine_PAMPA_C0-R3 | 301398 | 677740 | 0.4447 | 20 | 8.894
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Metoprolol_PAMPA_Acceptor-R1 | 1095198 | 709062 | 1.5446 | 1 | 1.5446 | 72.3275 | 81.1964
Metoprolol_PAMPA_Acceptor-R2 | 1086066 | 674014 | 1.6113 | 1 | 1.6113 | 81.6185
Metoprolol_PAMPA_Acceptor-R3 | 1099515 | 685830 | 1.6032 | 1 | 1.6032 | 89.6432
Metoprolol_PAMPA_Donor-R1 | 348797 | 664653 | 0.5248 | 20 | 10.496
Metoprolol_PAMPA_Donor-R2 | 403684 | 674143 | 0.5988 | 20 | 11.976
Metoprolol_PAMPA_Donor-R3 | 426271 | 640044 | 0.666 | 20 | 13.32
Metoprolol_PAMPA_C0-R1 | 588287 | 712395 | 0.8258 | 20 | 16.516
Metoprolol_PAMPA_C0-R2 | 598489 | 695511 | 0.8605 | 20 | 17.21
Metoprolol_PAMPA_C0-R3 | 577111 | 711813 | 0.8108 | 20 | 16.216
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Carbamazepine_PAMPA_Acceptor-R1 | 14701808 | 733689 | 20.0382 | 1 | 20.0382 | 74.5294 | 79.708
Carbamazepine_PAMPA_Acceptor-R2 | 16523444 | 722890 | 22.8575 | 1 | 22.8575 | 77.5531
Carbamazepine_PAMPA_Acceptor-R3 | 15366605 | 713823 | 21.5272 | 1 | 21.5272 | 87.0415
Carbamazepine_PAMPA_Donor-R1 | 1984005 | 722418 | 2.7463 | 20 | 54.926
Carbamazepine_PAMPA_Donor-R2 | 2015817 | 731053 | 2.7574 | 20 | 55.148
Carbamazepine_PAMPA_Donor-R3 | 2334564 | 707205 | 3.3011 | 20 | 66.022
Carbamazepine_PAMPA_C0-R1 | 3488065 | 713247 | 4.8904 | 20 | 97.808
Carbamazepine_PAMPA_C0-R2 | 3690504 | 735648 | 5.0167 | 20 | 100.334
Carbamazepine_PAMPA_C0-R3 | 3826876 | 738723 | 5.1804 | 20 | 103.608
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Cyclosporin A_PAMPA_Acceptor-R1 | 31936 | 2521472 | 0.0127 | 1 | 0.0127 | 26.2023 | 31.6825
Cyclosporin A_PAMPA_Acceptor-R2 | 27832 | 2792401 | 0.01 | 1 | 0.01 | 33.7961
Cyclosporin A_PAMPA_Acceptor-R3 | 43520 | 2695033 | 0.0161 | 1 | 0.0161 | 35.0491
Cyclosporin A_PAMPA_Donor-R1 | 1051018 | 2676968 | 0.3926 | 20 | 7.852
Cyclosporin A_PAMPA_Donor-R2 | 1295033 | 2555730 | 0.5067 | 20 | 10.134
Cyclosporin A_PAMPA_Donor-R3 | 1291846 | 2459880 | 0.5252 | 20 | 10.504
Cyclosporin A_PAMPA_C0-R1 | 3877184 | 2583782 | 1.5006 | 20 | 30.012
Cyclosporin A_PAMPA_C0-R2 | 3899617 | 2636195 | 1.4793 | 20 | 29.586
Cyclosporin A_PAMPA_C0-R3 | 3774567 | 2479324 | 1.5224 | 20 | 30.448
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Cyclosporin B _PAMPA_Acceptor-R1 | 226 | 2582307 | 0.0001 | 1 | 0.0001 | 23.8663 | 28.905
Cyclosporin B _PAMPA_Acceptor-R2 | 253 | 2611060 | 0.0001 | 1 | 0.0001 | 36.657
Cyclosporin B _PAMPA_Acceptor-R3 | 305 | 2457560 | 0.0001 | 1 | 0.0001 | 26.1919
Cyclosporin B _PAMPA_Donor-R1 | 11469 | 2769977 | 0.0041 | 20 | 0.082
Cyclosporin B _PAMPA_Donor-R2 | 16814 | 2687492 | 0.0063 | 20 | 0.126
Cyclosporin B _PAMPA_Donor-R3 | 12277 | 2728454 | 0.0045 | 20 | 0.09
Cyclosporin B _PAMPA_C0-R1 | 45569 | 3079223 | 0.0148 | 20 | 0.296
Cyclosporin B _PAMPA_C0-R2 | 47532 | 2777166 | 0.0171 | 20 | 0.342
Cyclosporin B _PAMPA_C0-R3 | 48258 | 2443873 | 0.0197 | 20 | 0.394
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Cyclosporin C_PAMPA_Acceptor-R1 | 2955 | 2706099 | 0.0011 | 1 | 0.0011 | 33.7155 | 45.204
Cyclosporin C_PAMPA_Acceptor-R2 | 2008 | 2427751 | 0.0008 | 1 | 0.0008 | 48.5172
Cyclosporin C_PAMPA_Acceptor-R3 | 3143 | 2616724 | 0.0012 | 1 | 0.0012 | 53.3793
Cyclosporin C_PAMPA_Donor-R1 | 53689 | 2759733 | 0.0195 | 20 | 0.39
Cyclosporin C_PAMPA_Donor-R2 | 76336 | 2719092 | 0.0281 | 20 | 0.562
Cyclosporin C_PAMPA_Donor-R3 | 80745 | 2616311 | 0.0309 | 20 | 0.618
Cyclosporin C_PAMPA_C0-R1 | 152804 | 2684244 | 0.0569 | 20 | 1.138
Cyclosporin C_PAMPA_C0-R2 | 151294 | 2633268 | 0.0575 | 20 | 1.15
Cyclosporin C_PAMPA_C0-R3 | 153508 | 2574144 | 0.0596 | 20 | 1.192
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Cyclosporin D_PAMPA_Acceptor-R1 | 752 | 1471504 | 0.0005 | 1 | 0.0005 | 44.25 | 30.5
Cyclosporin D_PAMPA_Acceptor-R2 | 423 | 1415328 | 0.0003 | 1 | 0.0003 | 21.15
Cyclosporin D_PAMPA_Acceptor-R3 | 313 | 1496174 | 0.0002 | 1 | 0.0002 | 26.1
Cyclosporin D_PAMPA_Donor-R1 | 6925 | 1569762 | 0.0044 | 20 | 0.088
Cyclosporin D_PAMPA_Donor-R2 | 3323 | 1588933 | 0.0021 | 20 | 0.042
Cyclosporin D_PAMPA_Donor-R3 | 3875 | 1485963 | 0.0026 | 20 | 0.052
Cyclosporin D_PAMPA_C0-R1 | 14431 | 1397669 | 0.0103 | 20 | 0.206
Cyclosporin D_PAMPA_C0-R2 | 15363 | 1510362 | 0.0102 | 20 | 0.204
Cyclosporin D_PAMPA_C0-R3 | 14803 | 1564207 | 0.0095 | 20 | 0.19
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Cyclosporin H _PAMPA_Acceptor-R1 | 661 | 2561411 | 0.0003 | 1 | 0.0003 | 19.8568 | 26.4508
Cyclosporin H _PAMPA_Acceptor-R2 | 653 | 2763563 | 0.0002 | 1 | 0.0002 | 26.9365
Cyclosporin H _PAMPA_Acceptor-R3 | 823 | 2863639 | 0.0003 | 1 | 0.0003 | 32.5592
Cyclosporin H _PAMPA_Donor-R1 | 13522 | 2551409 | 0.0053 | 20 | 0.106
Cyclosporin H _PAMPA_Donor-R2 | 20690 | 2863800 | 0.0072 | 20 | 0.144
Cyclosporin H _PAMPA_Donor-R3 | 24353 | 2786633 | 0.0087 | 20 | 0.174
Cyclosporin H _PAMPA_C0-R1 | 70855 | 2820848 | 0.0251 | 20 | 0.502
Cyclosporin H _PAMPA_C0-R2 | 67131 | 2360178 | 0.0284 | 20 | 0.568
Cyclosporin H _PAMPA_C0-R3 | 72393 | 2704755 | 0.0268 | 20 | 0.536
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Iso Cyclosporin A_PAMPA_Acceptor-R1 | 8305 | 2703660 | 0.00307 | 1 | 0.0031 | 19.7692 | 27.848
Iso Cyclosporin A_PAMPA_Acceptor-R2 | 7136 | 2754690 | 0.0026 | 1 | 0.0026 | 31.4231
Iso Cyclosporin A_PAMPA_Acceptor-R3 | 12172 | 2776564 | 0.0044 | 1 | 0.0044 | 32.3518
Iso Cyclosporin A_PAMPA_Donor-R1 | 331563 | 3063082 | 0.1082 | 20 | 2.164
Iso Cyclosporin A_PAMPA_Donor-R2 | 467039 | 2713292 | 0.1721 | 20 | 3.442
Iso Cyclosporin A_PAMPA_Donor-R3 | 475612 | 2685545 | 0.1771 | 20 | 3.542
Iso Cyclosporin A_PAMPA_C0-R1 | 1451917 | 2791525 | 0.5201 | 20 | 10.402
Iso Cyclosporin A_PAMPA_C0-R2 | 1489505 | 2543817 | 0.5855 | 20 | 11.71
Iso Cyclosporin A_PAMPA_C0-R3 | 1422019 | 2639695 | 0.5387 | 20 | 10.774
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Vaclosporine_PAMPA_Acceptor-R1 | 68300 | 2664682 | 0.0256 | 1 | 0.0256 | 19.8793 | 22.7662
Vaclosporine_PAMPA_Acceptor-R2 | 129031 | 2663417 | 0.0484 | 1 | 0.0484 | 23.2159
Vaclosporine_PAMPA_Acceptor-R3 | 126526 | 2906806 | 0.0435 | 1 | 0.0435 | 25.2034
Vaclosporine_PAMPA_Donor-R1 | 2735506 | 2734118 | 1.0005 | 20 | 20.01
Vaclosporine_PAMPA_Donor-R2 | 3000759 | 2570347 | 1.1675 | 20 | 23.35
Vaclosporine_PAMPA_Donor-R3 | 3538370 | 2790641 | 1.2679 | 20 | 25.358
Vaclosporine_PAMPA_C0-R1 | 13194886 | 2738753 | 4.8178 | 20 | 96.356
Vaclosporine_PAMPA_C0-R2 | 14263261 | 2470009 | 5.7746 | 20 | 115.492
Vaclosporine_PAMPA_C0-R3 | 13739278 | 3035998 | 4.5255 | 20 | 90.51
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Lanreotide_PAMPA_Acceptor-R1 | 2446 | 2756409 | 0.00089 | 1 | 0.0009 | 35.1997 | 42.6358
Lanreotide_PAMPA_Acceptor-R2 | 517 | 2974990 | 0.00017 | 1 | 0.0002 | 51.8051
Lanreotide_PAMPA_Acceptor-R3 | 1875 | 2662244 | 0.0007 | 1 | 0.0007 | 40.9026
Lanreotide_PAMPA_Donor-R1 | 20772 | 2852538 | 0.0073 | 20 | 0.146
Lanreotide_PAMPA_Donor-R2 | 30238 | 2796900 | 0.0108 | 20 | 0.216
Lanreotide_PAMPA_Donor-R3 | 25502 | 2996775 | 0.0085 | 20 | 0.17
Lanreotide_PAMPA_C0-R1 | 61406 | 2641727 | 0.0232 | 20 | 0.464
Lanreotide_PAMPA_C0-R2 | 53333 | 2857226 | 0.0187 | 20 | 0.374
Lanreotide_PAMPA_C0-R3 | 56908 | 2755145 | 0.0207 | 20 | 0.414
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Plecanatide_PAMPA_Acceptor-R1 | 978 | 2698389 | 0.0004 | 1 | 0.0004 | 93.4737 | 88.2632
Plecanatide_PAMPA_Acceptor-R2 | 1242 | 2751645 | 0.0005 | 1 | 0.0005 | 90.3947
Plecanatide_PAMPA_Acceptor-R3 | 1339 | 2485631 | 0.0005 | 1 | 0.0005 | 80.9211
Plecanatide_PAMPA_Donor-R1 | 16078 | 2729298 | 0.0059 | 20 | 0.118
Plecanatide_PAMPA_Donor-R2 | 15400 | 2721811 | 0.0057 | 20 | 0.114
Plecanatide_PAMPA_Donor-R3 | 15254 | 2974289 | 0.0051 | 20 | 0.102
Plecanatide_PAMPA_C0-R1 | 16727 | 2317840 | 0.0072 | 20 | 0.144
Plecanatide_PAMPA_C0-R2 | 18315 | 2548267 | 0.0072 | 20 | 0.144
Plecanatide_PAMPA_C0-R3 | 13459 | 2956932 | 0.0046 | 20 | 0.092
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Alpha-conotoxin MII_PAMPA_Acceptor-R1 | 614 | 2718970 | 0.0002 | 1 | 0.0002 | 62.9238 | 71.0319
Alpha-conotoxin MII_PAMPA_Acceptor-R2 | 798 | 2707246 | 0.0003 | 1 | 0.0003 | 74.2383
Alpha-conotoxin MII_PAMPA_Acceptor-R3 | 390 | 2636375 | 0.0001 | 1 | 0.0001 | 75.9337
Alpha-conotoxin MII_PAMPA_Donor-R1 | 66726 | 2605689 | 0.0256 | 20 | 0.512
Alpha-conotoxin MII_PAMPA_Donor-R2 | 84969 | 2810647 | 0.0302 | 20 | 0.604
Alpha-conotoxin MII_PAMPA_Donor-R3 | 87917 | 2841841 | 0.0309 | 20 | 0.618
Alpha-conotoxin MII_PAMPA_C0-R1 | 110868 | 2757204 | 0.0402 | 20 | 0.804
Alpha-conotoxin MII_PAMPA_C0-R2 | 109205 | 2585035 | 0.0422 | 20 | 0.844
Alpha-conotoxin MII_PAMPA_C0-R3 | 102195 | 2576650 | 0.0397 | 20 | 0.794
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
α-Amanitin_PAMPA_Acceptor-R1 | 1085 | 2911767 | 0.0004 | 1 | 0.0004 | 66.0154 | 73.7596
α-Amanitin_PAMPA_Acceptor-R2 | 1508 | 2787190 | 0.0005 | 1 | 0.0005 | 83.0013
α-Amanitin_PAMPA_Acceptor-R3 | 2412 | 2876690 | 0.0008 | 1 | 0.0008 | 72.2622
α-Amanitin_PAMPA_Donor-R1 | 48414 | 2824409 | 0.0171 | 20 | 0.342
α-Amanitin_PAMPA_Donor-R2 | 60063 | 2795438 | 0.0215 | 20 | 0.43
α-Amanitin_PAMPA_Donor-R3 | 50738 | 2715266 | 0.0187 | 20 | 0.374
α-Amanitin_PAMPA_C0-R1 | 68666 | 2786684 | 0.0246 | 20 | 0.492
α-Amanitin_PAMPA_C0-R2 | 72346 | 2753610 | 0.0263 | 20 | 0.526
α-Amanitin_PAMPA_C0-R3 | 78269 | 2907980 | 0.0269 | 20 | 0.538
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Romidepsin_PAMPA_Acceptor-R1 | 2401625 | 2591538 | 0.9267 | 1 | 0.9267 | 65.5973 | 70.2783
Romidepsin_PAMPA_Acceptor-R2 | 1913472 | 2734412 | 0.6998 | 1 | 0.6998 | 80.8971
Romidepsin_PAMPA_Acceptor-R3 | 3637060 | 2712282 | 1.341 | 1 | 1.341 | 64.3404
Romidepsin_PAMPA_Donor-R1 | 4810970 | 2703578 | 1.7795 | 20 | 35.59
Romidepsin_PAMPA_Donor-R2 | 5744938 | 2591665 | 2.2167 | 20 | 44.334
Romidepsin_PAMPA_Donor-R3 | 4480639 | 2599344 | 1.7238 | 20 | 34.476
Romidepsin_PAMPA_C0-R1 | 7679990 | 2670554 | 2.8758 | 20 | 57.516
Romidepsin_PAMPA_C0-R2 | 7581895 | 2835950 | 2.6735 | 20 | 53.47
Romidepsin_PAMPA_C0-R3 | 7687806 | 2744760 | 2.8009 | 20 | 56.018
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Dilution Factor | Corrected Area Ratio | % Recovery | Average % Receovery
Linaclotide_PAMPA_Acceptor-R1 | 212 | 2797791 | 0.0001 | 1 | 0.0001 | 68.0387 | 74.8066
Linaclotide_PAMPA_Acceptor-R2 | 1027 | 2726816 | 0.0004 | 1 | 0.0004 | 86.5193
Linaclotide_PAMPA_Acceptor-R3 | 850 | 2752722 | 0.0003 | 1 | 0.0003 | 69.8619
Linaclotide_PAMPA_Donor-R1 | 11860 | 2881097 | 0.0041 | 20 | 0.082
Linaclotide_PAMPA_Donor-R2 | 15275 | 2919470 | 0.0052 | 20 | 0.104
Linaclotide_PAMPA_Donor-R3 | 11994 | 2885185 | 0.0042 | 20 | 0.084
Linaclotide_PAMPA_C0-R1 | 16521 | 2793274 | 0.0059 | 20 | 0.118
Linaclotide_PAMPA_C0-R2 | 17945 | 3071685 | 0.0058 | 20 | 0.116
Linaclotide_PAMPA_C0-R3 | 16994 | 2653884 | 0.0064 | 20 | 0.128

## LCMS-MS Sheet
Compound_ID | MS-MS Optimisation
| Sought Mass (amu) | Optimised Mass (Q1) | Daughter ion (Q3) | Cone Voltage (V) | Collision Energy (eV) | Ionisation Mode | Comments
Famotidine | 337.45 | 338.099 | 259 | 61 | 17 | ESP+
Metaprolol | 267.364 | 268.182 | 116.3 | 71 | 27 | ESP+
Carbamazepine | 236.27 | 237 | 194 | 70 | 10 | ESP+
Cyclosporin A | 1202.64 | 1220.1 | 1203.1 | 70 | 11 | ESP+
Cyclosporin B | 1188.58 | 1189.1 | 1171.5 | 230 | 38 | ESP+
Cyclosporin C | 1218.64 | 1219.3 | 1201.3 | 200 | 42 | ESP+
Cyclosporin D | 1216.64 | 1217 | 1199.5 | 226 | 36 | ESP+
Cyclosporin H | 1202.61 | 1203 | 1185 | 200 | 39 | ESP+
Iso Cyclosporin A | 1202.64 | 1220.1 | 1203.1 | 70 | 11 | ESP+
Vaclosporine | 1214.62 | 1231.8 | 1214.5 | 127 | 29 | ESP+
Lanreotide | 1096.33 | 549 | 170.2 | 100 | 45 | ESP+
Plecanatide | 1681.89 | 841.2 | 805.6 | 151 | 30 | ESP+
Alpha-conotoxin MII | 1710.99 | 856 | 847.5 | 170 | 39 | ESP+
α-Amanitin | 918.97 | 919 | 901 | 182 | 34 | ESP+
Romidepsin | 540.69 | 541 | 424 | 120 | 24 | ESP+
Linaclotide | 1526.74 | 764 | 755.2 | 149 | 18 | ESP+
Name of the Assay | PAMPA
Study No: | 2023-0210
Instrument ID | LC-MS/MS-05
Mobile Phase | A: 0.1% FA in Water & B: 0.1% FA in Acetonitrile
Column used | Zorbax, Eclipse, XDB, C18 (4.6 *50mm)
Data path-LC_MS_05 | D:\Analyst Data\Projects\P-765-Jan_Feb_Mar\2023_02_03
Famotidine_2023-0210-PAMPA-040223
Metoprolol_2023-0210-PAMPA-040223
Carbamazepine_2023-0210-PAMPA-040223
Cyclosporin A_2023-0210-PAMPA-040223
Cyclosporin B _2023-0210-PAMPA-040223
Cyclosporin C_2023-0210-PAMPA-040223
Cyclosporin D_2023-0210-PAMPA-040223
Cyclosporin H _2023-0210-PAMPA-040223
Iso Cyclosporin A_2023-0210-PAMPA-040223
Vaclosporine_2023-0210-PAMPA-040223
Lanreotide_2023-0210-PAMPA-040223
Plecanatide_2023-0210-PAMPA-040223
Alpha-conotoxin MII_2023-0210-PAMPA-040223
α-Amanitin_2023-0210-PAMPA-040223
Romidepsin_2023-0210-PAMPA-040223
Linaclotide_2023-0210-PAMPA-040223
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 752590 | 0 | 0 | 1.01 | 85 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:17 | P-765\030223\PAMPA.wiff
Blank | 0 | 713992 | 0 | 0 | 1.01 | 85 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:20 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_Acceptor-R1 | 47046 | 635917 | 0.073981 | 0.64 | 1.01 | 1 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:22 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_Acceptor-R2 | 21488 | 646081 | 0.03326 | 0.64 | 1 | 13 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:25 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_Acceptor-R3 | 23219 | 717819 | 0.032346 | 0.64 | 1 | 25 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:27 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_Donor-R1 | 260463 | 641722 | 0.40588 | 0.63 | 1.01 | 37 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:29 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_Donor-R2 | 290733 | 699859 | 0.41542 | 0.64 | 1.01 | 49 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:32 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_Donor-R3 | 221500 | 714544 | 0.30999 | 0.64 | 1.01 | 61 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:34 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_C0-R1 | 392563 | 639904 | 0.61347 | 0.64 | 1.01 | 73 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:37 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_C0-R2 | 323169 | 672940 | 0.48024 | 0.64 | 1.01 | 73 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:39 | P-765\030223\PAMPA.wiff
Famotidine_PAMPA_C0-R3 | 301398 | 677740 | 0.44471 | 0.64 | 1 | 73 | 2 | FAMOTIDINE | GLYBURIDE | Famotidine.dam | 2023-02-04 00:41 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 776324 | 0 | 0 | 1.01 | 86 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:19 | P-765\030223\PAMPA.wiff
Blank | 0 | 794385 | 0 | 0 | 1.01 | 86 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:21 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_Acceptor-R1 | 1095198 | 709062 | 1.5446 | 0.83 | 1 | 2 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:23 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_Acceptor-R2 | 1086066 | 674014 | 1.6113 | 0.84 | 1.01 | 14 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:26 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_Acceptor-R3 | 1099515 | 685830 | 1.6032 | 0.84 | 1.01 | 26 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:28 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_Donor-R1 | 348797 | 664653 | 0.52478 | 0.83 | 1 | 38 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:31 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_Donor-R2 | 403684 | 674143 | 0.59881 | 0.83 | 1 | 50 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:33 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_Donor-R3 | 426271 | 640044 | 0.666 | 0.83 | 1 | 62 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:35 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_C0-R1 | 588287 | 712395 | 0.82579 | 0.84 | 1.01 | 74 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:38 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_C0-R2 | 598489 | 695511 | 0.8605 | 0.84 | 1.01 | 74 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:40 | P-765\030223\PAMPA.wiff
Metoprolol_PAMPA_C0-R3 | 577111 | 711813 | 0.81076 | 0.84 | 1.01 | 74 | 1 | METOPROLOL | GLYBURIDE | Metoprolol.dam | 2023-02-03 18:43 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 717038 | 0 | 0 | 0.88 | 87 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 18:45 | P-765\030223\PAMPA.wiff
Blank | 0 | 717480 | 0 | 0 | 0.88 | 87 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 18:47 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_Acceptor-R1 | 14701808 | 733689 | 20.0382 | 0.83 | 0.88 | 3 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 18:50 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_Acceptor-R2 | 16523444 | 722890 | 22.8575 | 0.83 | 0.88 | 15 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 18:52 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_Acceptor-R3 | 15366605 | 713823 | 21.5272 | 0.83 | 0.88 | 27 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 18:55 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_Donor-R1 | 1984005 | 722418 | 2.7463 | 0.83 | 0.88 | 39 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 18:57 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_Donor-R2 | 2015817 | 731053 | 2.7574 | 0.83 | 0.88 | 51 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 19:00 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_Donor-R3 | 2334564 | 707205 | 3.3011 | 0.83 | 0.88 | 63 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 19:02 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_C0-R1 | 3488065 | 713247 | 4.8904 | 0.82 | 0.88 | 75 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 19:04 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_C0-R2 | 3690504 | 735648 | 5.0167 | 0.83 | 0.88 | 75 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 19:07 | P-765\030223\PAMPA.wiff
Carbamazepine_PAMPA_C0-R3 | 3826876 | 738723 | 5.1804 | 0.83 | 0.88 | 75 | 1 | Carbamazepine | GLYBURIDE | Carbamazepine.dam | 2023-02-03 19:09 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2685776 | 0 | 0 | 1.34 | 88 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:12 | P-765\030223\PAMPA.wiff
Blank | 0 | 2484016 | 0 | 0 | 1.34 | 88 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:16 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_Acceptor-R1 | 31936 | 2521472 | 0.012666 | 1.58 | 1.35 | 4 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:19 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_Acceptor-R2 | 27832 | 2792401 | 0.009967 | 1.6 | 1.34 | 16 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:23 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_Acceptor-R3 | 43520 | 2695033 | 0.016148 | 1.6 | 1.35 | 28 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:27 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_Donor-R1 | 1051018 | 2676968 | 0.39261 | 1.59 | 1.34 | 40 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:31 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_Donor-R2 | 1295033 | 2555730 | 0.50672 | 1.6 | 1.34 | 52 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:35 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_Donor-R3 | 1291846 | 2459880 | 0.52517 | 1.6 | 1.34 | 64 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:39 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_C0-R1 | 3877184 | 2583782 | 1.5006 | 1.59 | 1.34 | 76 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:43 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_C0-R2 | 3899617 | 2636195 | 1.4793 | 1.59 | 1.34 | 76 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:47 | P-765\030223\PAMPA.wiff
Cyclosporin A_PAMPA_C0-R3 | 3774567 | 2479324 | 1.5224 | 1.59 | 1.34 | 76 | 1 | CysA | GLYBURIDE | Cyclosporin A.dam | 2023-02-03 19:51 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2608226 | 0 | 0 | 1.35 | 89 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 19:55 | P-765\030223\PAMPA.wiff
Blank | 0 | 2564828 | 0 | 0 | 1.35 | 89 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 19:58 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_Acceptor-R1 | 226 | 2582307 | 8.7e-05 | 1.5 | 1.34 | 5 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:02 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_Acceptor-R2 | 253 | 2611060 | 9.7e-05 | 1.5 | 1.34 | 17 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:06 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_Acceptor-R3 | 305 | 2457560 | 0.000124 | 1.51 | 1.34 | 29 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:10 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_Donor-R1 | 11469 | 2769977 | 0.004141 | 1.51 | 1.34 | 41 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:14 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_Donor-R2 | 16814 | 2687492 | 0.006257 | 1.5 | 1.34 | 53 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:18 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_Donor-R3 | 12277 | 2728454 | 0.0045 | 1.52 | 1.35 | 65 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:22 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_C0-R1 | 45569 | 3079223 | 0.014799 | 1.51 | 1.35 | 77 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:26 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_C0-R2 | 47532 | 2777166 | 0.017115 | 1.51 | 1.35 | 77 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:30 | P-765\030223\PAMPA.wiff
Cyclosporin B _PAMPA_C0-R3 | 48258 | 2443873 | 0.019747 | 1.51 | 1.34 | 77 | 1 | CysB | GLYBURIDE | Cyclosporin B .dam | 2023-02-03 20:34 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2565911 | 0 | 0 | 1.34 | 90 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 20:38 | P-765\030223\PAMPA.wiff
Blank | 0 | 2500418 | 0 | 0 | 1.35 | 90 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 20:42 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_Acceptor-R1 | 2955 | 2706099 | 0.001092 | 1.5 | 1.34 | 6 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 20:45 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_Acceptor-R2 | 2008 | 2427751 | 0.000827 | 1.49 | 1.34 | 18 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 20:49 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_Acceptor-R3 | 3143 | 2616724 | 0.001201 | 1.51 | 1.35 | 30 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 20:53 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_Donor-R1 | 53689 | 2759733 | 0.019454 | 1.5 | 1.35 | 42 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 20:57 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_Donor-R2 | 76336 | 2719092 | 0.028074 | 1.49 | 1.34 | 54 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 21:01 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_Donor-R3 | 80745 | 2616311 | 0.030862 | 1.49 | 1.34 | 66 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 21:05 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_C0-R1 | 152804 | 2684244 | 0.056926 | 1.49 | 1.34 | 78 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 21:09 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_C0-R2 | 151294 | 2633268 | 0.057455 | 1.5 | 1.35 | 78 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 21:13 | P-765\030223\PAMPA.wiff
Cyclosporin C_PAMPA_C0-R3 | 153508 | 2574144 | 0.059635 | 1.49 | 1.34 | 78 | 1 | CysC | GLYBURIDE | Cyclosporin C.dam | 2023-02-03 21:17 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 1395221 | 0 | 0 | 1.26 | 91 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:10 | P-765\030223\PAMPA.wiff
Blank | 0 | 1593847 | 0 | 0 | 1.26 | 91 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:13 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_Acceptor-R1 | 752 | 1471504 | 0.000511 | 1.43 | 1.26 | 7 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:17 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_Acceptor-R2 | 423 | 1415328 | 0.000299 | 1.46 | 1.27 | 19 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:21 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_Acceptor-R3 | 313 | 1496174 | 0.000209 | 1.34 | 1.26 | 31 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:25 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_Donor-R1 | 6925 | 1569762 | 0.004411 | 1.42 | 1.26 | 43 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:29 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_Donor-R2 | 3323 | 1588933 | 0.002091 | 1.45 | 1.26 | 55 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:33 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_Donor-R3 | 3875 | 1485963 | 0.002608 | 1.45 | 1.27 | 67 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:37 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_C0-R1 | 14431 | 1397669 | 0.010325 | 1.44 | 1.26 | 79 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:41 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_C0-R2 | 15363 | 1510362 | 0.010172 | 1.44 | 1.26 | 79 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:45 | P-765\030223\PAMPA.wiff
Cyclosporin D_PAMPA_C0-R3 | 14803 | 1564207 | 0.009464 | 1.45 | 1.27 | 79 | 1 | CysD | GLYBURIDE | Cyclosporin D.dam | 2023-02-04 16:49 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2907733 | 0 | 0 | 1.34 | 92 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:04 | P-765\030223\PAMPA.wiff
Blank | 0 | 2572185 | 0 | 0 | 1.35 | 92 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:07 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_Acceptor-R1 | 661 | 2561411 | 0.000258 | 1.56 | 1.34 | 8 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:11 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_Acceptor-R2 | 653 | 2763563 | 0.000236 | 1.57 | 1.34 | 20 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:15 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_Acceptor-R3 | 823 | 2863639 | 0.000287 | 1.57 | 1.34 | 32 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:19 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_Donor-R1 | 13522 | 2551409 | 0.0053 | 1.56 | 1.34 | 44 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:23 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_Donor-R2 | 20690 | 2863800 | 0.007225 | 1.56 | 1.34 | 56 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:27 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_Donor-R3 | 24353 | 2786633 | 0.008739 | 1.57 | 1.34 | 68 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:31 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_C0-R1 | 70855 | 2820848 | 0.025118 | 1.56 | 1.34 | 80 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:35 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_C0-R2 | 67131 | 2360178 | 0.028443 | 1.56 | 1.34 | 80 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:39 | P-765\030223\PAMPA.wiff
Cyclosporin H _PAMPA_C0-R3 | 72393 | 2704755 | 0.026765 | 1.57 | 1.34 | 80 | 1 | CysH | GLYBURIDE | Cyclosporin H .dam | 2023-02-03 22:43 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2855348 | 0 | 0 | 1.34 | 93 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 22:47 | P-765\030223\PAMPA.wiff
Blank | 0 | 2839018 | 0 | 0 | 1.34 | 93 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 22:50 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_Acceptor-R1 | 8305 | 2703660 | 0.003072 | 1.62 | 1.34 | 9 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 22:54 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_Acceptor-R2 | 7136 | 2754690 | 0.002591 | 1.59 | 1.34 | 21 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 22:58 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_Acceptor-R3 | 12172 | 2776564 | 0.004384 | 1.59 | 1.34 | 33 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:02 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_Donor-R1 | 331563 | 3063082 | 0.10824 | 1.57 | 1.34 | 45 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:06 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_Donor-R2 | 467039 | 2713292 | 0.17213 | 1.59 | 1.34 | 57 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:10 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_Donor-R3 | 475612 | 2685545 | 0.1771 | 1.6 | 1.35 | 69 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:14 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_C0-R1 | 1451917 | 2791525 | 0.52012 | 1.6 | 1.34 | 81 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:18 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_C0-R2 | 1489505 | 2543817 | 0.58554 | 1.6 | 1.35 | 81 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:22 | P-765\030223\PAMPA.wiff
Iso Cyclosporin A_PAMPA_C0-R3 | 1422019 | 2639695 | 0.53871 | 1.59 | 1.34 | 81 | 1 | CysA | GLYBURIDE | Iso Cyclosporin A.dam | 2023-02-03 23:26 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2891178 | 0 | 0 | 1.28 | 94 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:20 | P-765\030223\PAMPA.wiff
Blank | 0 | 2483404 | 0 | 0 | 1.27 | 94 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:24 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_Acceptor-R1 | 68300 | 2664682 | 0.025632 | 1.45 | 1.27 | 10 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:28 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_Acceptor-R2 | 129031 | 2663417 | 0.048445 | 1.46 | 1.27 | 22 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:32 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_Acceptor-R3 | 126526 | 2906806 | 0.043528 | 1.45 | 1.27 | 34 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:36 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_Donor-R1 | 2735506 | 2734118 | 1.0005 | 1.46 | 1.28 | 46 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:40 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_Donor-R2 | 3000759 | 2570347 | 1.1675 | 1.46 | 1.28 | 58 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:44 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_Donor-R3 | 3538370 | 2790641 | 1.2679 | 1.46 | 1.27 | 70 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:48 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_C0-R1 | 13194886 | 2738753 | 4.8178 | 1.46 | 1.28 | 82 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:52 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_C0-R2 | 14263261 | 2470009 | 5.7746 | 1.46 | 1.28 | 82 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:56 | P-765\030223\PAMPA.wiff
Vaclosporine_PAMPA_C0-R3 | 13739278 | 3035998 | 4.5255 | 1.46 | 1.28 | 82 | 1 | Voclosporin-7 | GLYBURIDE | Vaclosporine.dam | 2023-02-04 14:59 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2797280 | 0 | 0 | 1.35 | 88 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 01:37 | P-765\030223\PAMPA.wiff
Blank | 0 | 2895105 | 0 | 0 | 1.34 | 88 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 01:41 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_Acceptor-R1 | 2446 | 2756409 | 0.000888 | 1.08 | 1.34 | 4 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 01:45 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_Acceptor-R2 | 517 | 2974990 | 0.000174 | 1.08 | 1.34 | 16 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 01:49 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_Acceptor-R3 | 1875 | 2662244 | 0.000704 | 1.08 | 1.34 | 28 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 01:52 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_Donor-R1 | 20772 | 2852538 | 0.007282 | 1.08 | 1.34 | 40 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 01:56 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_Donor-R2 | 30238 | 2796900 | 0.010811 | 1.08 | 1.34 | 52 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 02:00 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_Donor-R3 | 25502 | 2996775 | 0.00851 | 1.09 | 1.35 | 64 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 02:04 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_C0-R1 | 61406 | 2641727 | 0.023245 | 1.09 | 1.34 | 76 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 02:08 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_C0-R2 | 53333 | 2857226 | 0.018666 | 1.08 | 1.34 | 76 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 02:12 | P-765\030223\PAMPA.wiff
Lanreotide_PAMPA_C0-R3 | 56908 | 2755145 | 0.020655 | 1.09 | 1.34 | 76 | 2 | Lanreotide-7 | GLYBURIDE | Lanreotide.dam | 2023-02-04 02:16 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2697050 | 0 | 0 | 1.34 | 89 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:20 | P-765\030223\PAMPA.wiff
Blank | 0 | 2796348 | 0 | 0 | 1.34 | 89 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:24 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_Acceptor-R1 | 978 | 2698389 | 0.000362 | 1.08 | 1.34 | 5 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:28 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_Acceptor-R2 | 1242 | 2751645 | 0.000451 | 1.1 | 1.34 | 17 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:32 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_Acceptor-R3 | 1339 | 2485631 | 0.000539 | 1.12 | 1.34 | 29 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:36 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_Donor-R1 | 16078 | 2729298 | 0.005891 | 1.1 | 1.35 | 41 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:39 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_Donor-R2 | 15400 | 2721811 | 0.005658 | 1.09 | 1.34 | 53 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:43 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_Donor-R3 | 15254 | 2974289 | 0.005129 | 1.09 | 1.34 | 65 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:47 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_C0-R1 | 16727 | 2317840 | 0.007216 | 1.09 | 1.34 | 77 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:51 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_C0-R2 | 18315 | 2548267 | 0.007187 | 1.1 | 1.35 | 77 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:55 | P-765\030223\PAMPA.wiff
Plecanatide_PAMPA_C0-R3 | 13459 | 2956932 | 0.004552 | 1.1 | 1.35 | 77 | 2 | Plecanatide | GLYBURIDE | Plecanatide.dam | 2023-02-04 02:59 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2732065 | 0 | 0 | 1.34 | 90 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:03 | P-765\030223\PAMPA.wiff
Blank | 0 | 2786841 | 0 | 0 | 1.34 | 90 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:07 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_Acceptor-R1 | 614 | 2718970 | 0.000226 | 1.08 | 1.34 | 6 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:11 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_Acceptor-R2 | 798 | 2707246 | 0.000295 | 1.07 | 1.34 | 18 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:15 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_Acceptor-R3 | 390 | 2636375 | 0.000148 | 1.08 | 1.34 | 30 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:19 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_Donor-R1 | 66726 | 2605689 | 0.025608 | 1.08 | 1.35 | 42 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:22 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_Donor-R2 | 84969 | 2810647 | 0.030231 | 1.08 | 1.35 | 54 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:26 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_Donor-R3 | 87917 | 2841841 | 0.030937 | 1.07 | 1.34 | 66 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:30 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_C0-R1 | 110868 | 2757204 | 0.04021 | 1.07 | 1.34 | 78 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:34 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_C0-R2 | 109205 | 2585035 | 0.042245 | 1.07 | 1.35 | 78 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:38 | P-765\030223\PAMPA.wiff
Alpha-conotoxin MII_PAMPA_C0-R3 | 102195 | 2576650 | 0.039662 | 1.07 | 1.34 | 78 | 2 | Alpha-conotoxin | GLYBURIDE | Alpha-conotoxin MII.dam | 2023-02-04 03:42 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2638097 | 0 | 0 | 1.34 | 91 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 03:46 | P-765\030223\PAMPA.wiff
Blank | 0 | 2632849 | 0 | 0 | 1.34 | 91 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 03:50 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_Acceptor-R1 | 1085 | 2911767 | 0.000373 | 1.02 | 1.34 | 7 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 03:54 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_Acceptor-R2 | 1508 | 2787190 | 0.000541 | 1.02 | 1.34 | 19 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 03:58 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_Acceptor-R3 | 2412 | 2876690 | 0.000838 | 1.02 | 1.35 | 31 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:02 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_Donor-R1 | 48414 | 2824409 | 0.017141 | 1.02 | 1.35 | 43 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:05 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_Donor-R2 | 60063 | 2795438 | 0.021486 | 1.02 | 1.34 | 55 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:09 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_Donor-R3 | 50738 | 2715266 | 0.018686 | 1.02 | 1.34 | 67 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:13 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_C0-R1 | 68666 | 2786684 | 0.024641 | 1.02 | 1.34 | 79 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:17 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_C0-R2 | 72346 | 2753610 | 0.026273 | 1.02 | 1.34 | 79 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:21 | P-765\030223\PAMPA.wiff
α-Amanitin_PAMPA_C0-R3 | 78269 | 2907980 | 0.026915 | 1.02 | 1.35 | 79 | 2 | Alpha-amanitin | GLYBURIDE | α-Amanitin.dam | 2023-02-04 04:25 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2583426 | 0 | 0 | 1.35 | 92 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:29 | P-765\030223\PAMPA.wiff
Blank | 0 | 2892287 | 0 | 0 | 1.34 | 92 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:33 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_Acceptor-R1 | 2401625 | 2591538 | 0.92672 | 1.25 | 1.34 | 8 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:37 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_Acceptor-R2 | 1913472 | 2734412 | 0.69977 | 1.26 | 1.35 | 20 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:41 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_Acceptor-R3 | 3637060 | 2712282 | 1.341 | 1.25 | 1.34 | 32 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:45 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_Donor-R1 | 4810970 | 2703578 | 1.7795 | 1.25 | 1.34 | 44 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:48 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_Donor-R2 | 5744938 | 2591665 | 2.2167 | 1.25 | 1.34 | 56 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:52 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_Donor-R3 | 4480639 | 2599344 | 1.7238 | 1.25 | 1.34 | 68 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 04:56 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_C0-R1 | 7679990 | 2670554 | 2.8758 | 1.26 | 1.35 | 80 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 05:00 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_C0-R2 | 7581895 | 2835950 | 2.6735 | 1.25 | 1.34 | 80 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 05:04 | P-765\030223\PAMPA.wiff
Romidepsin_PAMPA_C0-R3 | 7687806 | 2744760 | 2.8009 | 1.25 | 1.34 | 80 | 2 | Romidepsin | GLYBURIDE | Romidepsin.dam | 2023-02-04 05:08 | P-765\030223\PAMPA.wiff
Sample Name | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Analyte Retention Time (min) | IS Retention Time (min) | Vial Position | Plate Position | Analyte Peak Name | IS Peak Name | Acquisition Method | Acquisition Date | File Name
Blank | 0 | 2945314 | 0 | 0 | 1.35 | 93 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:12 | P-765\030223\PAMPA.wiff
Blank | 0 | 2913462 | 0 | 0 | 1.34 | 93 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:16 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_Acceptor-R1 | 212 | 2797791 | 7.6e-05 | 1.06 | 1.34 | 9 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:20 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_Acceptor-R2 | 1027 | 2726816 | 0.000377 | 1.06 | 1.34 | 21 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:24 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_Acceptor-R3 | 850 | 2752722 | 0.000309 | 1.04 | 1.34 | 33 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:28 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_Donor-R1 | 11860 | 2881097 | 0.004117 | 1.06 | 1.34 | 45 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:31 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_Donor-R2 | 15275 | 2919470 | 0.005232 | 1.07 | 1.34 | 57 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:35 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_Donor-R3 | 11994 | 2885185 | 0.004157 | 1.06 | 1.34 | 69 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:39 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_C0-R1 | 16521 | 2793274 | 0.005914 | 1.06 | 1.34 | 81 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:43 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_C0-R2 | 17945 | 3071685 | 0.005842 | 1.07 | 1.35 | 81 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:47 | P-765\030223\PAMPA.wiff
Linaclotide_PAMPA_C0-R3 | 16994 | 2653884 | 0.006404 | 1.06 | 1.34 | 81 | 2 | linaclotide-3 | GLYBURIDE | Linaclotide.dam | 2023-02-04 05:51 | P-765\030223\PAMPA.wiff

## Bioanalytical details
Date of Loading | 2023-02-03
Project code | P-980
Project Study Number | 0210
Name of the Assay | PAMPA
Species | NA
Assay Scientist LabNotebook No.: | Refer LNB N):01469 for assay procedure and results
Bioanalytical Section: | HPLC: | SHIMADZU UPLC | Instrument ID: | LC-MS/MS-05
| Mass Spectrometer | SCIEX-5500 | Internal Standard: | GLYBURIDE
|  |  | Run time: | 3.5 Min
| Column: | Kinetex EVO, C18, 50 X 2.1 mm, 1.7 µm, 100 Å
| Mobile Phase: | A: 0.1% Formic acid in Ammonium Acetate
B:0.1% Formic acid in Acetonitrile
Software: | Analyst 1.7.1
Source Parameters
| Curtain Gas | 30
| Collision Gas | 8
| Ion Spray Voltage | 5500
| Temperature | 550
| Ion Source Gas1 | 55
| Ion Source Gas2 | 60
| Ion Spray Voltage for Negative Mode | -4500
Gradient details |  | Time (min) | A % | B %
|  | 0 | 95 | 5
|  | 0.4 | 95 | 5
|  | 1.2 | 5 | 95
|  | 3 | 5 | 95
|  | 3.2 | 95 | 5
|  | 3.5 | 95 | 5
| Flow | 0.700 mL/min with Splitter
| Injection Volume | 20 uL
LC-MS/MS-Data path section
Batch Sequence | D:\Analyst Data\Projects\P-765-Jan_Feb_Mar\2023_02_03\Batch
Methods | D:\Analyst Data\Projects\P-765-Jan_Feb_Mar\2023_02_03\Acquisition Methods
| Famotidine | Cyclosporin C | Vaclosporine
| Metoprolol | Cyclosporin D | Lanreotide
| Carbamazepine | Cyclosporin H | Plecanatide
| Cyclosporin A | Iso Cyclosporin A | Alpha-conotoxin MII
| Cyclosporin B | Romidepsin | Linaclotide
α-Amanitin
Bioanalytical comments | NA
Date of Analysis | 2023-02-04
Results | D:\Analyst Data\Projects\P-765-Jan_Feb_Mar\2023_02_03\Results
Famotidine_2023-0210-PAMPA-040223
Metoprolol_2023-0210-PAMPA-040223
Carbamazepine_2023-0210-PAMPA-040223
Cyclosporin A_2023-0210-PAMPA-040223
Cyclosporin B _2023-0210-PAMPA-040223
Cyclosporin C_2023-0210-PAMPA-040223
Cyclosporin D_2023-0210-PAMPA-040223
Cyclosporin H _2023-0210-PAMPA-040223
Iso Cyclosporin A_2023-0210-PAMPA-040223
Vaclosporine_2023-0210-PAMPA-040223
Lanreotide_2023-0210-PAMPA-040223
Plecanatide_2023-0210-PAMPA-040223
Alpha-conotoxin MII_2023-0210-PAMPA-040223
α-Amanitin_2023-0210-PAMPA-040223
Romidepsin_2023-0210-PAMPA-040223
Linaclotide_2023-0210-PAMPA-040223
Bioanalytical comments | NA

## Request Sheet
Sl.No | Request Date | Date of Receipt | Project | Compound_ID | Mass (free base) | Exact Mass g/mol | Exact Mass with salt | Protocol | Remarks
1 | 2023-02-01 | 2023-02-01 | P-980 | Cyclosporin A | 1202.64 | 1202.64 | 1202.64 | PAMPA
2 | 2023-02-01 | 2023-02-01 | P-980 | Cyclosporin B | 1188.58 | 1188.58 | 1188.58 | PAMPA
3 | 2023-02-01 | 2023-02-01 | P-980 | Cyclosporin C | 1218.64 | 1218.64 | 1218.64 | PAMPA
4 | 2023-02-01 | 2023-02-01 | P-980 | Cyclosporin D | 1216.64 | 1216.64 | 1216.64 | PAMPA
5 | 2023-02-01 | 2023-02-01 | P-980 | Cyclosporin H | 1202.61 | 1202.61 | 1202.61 | PAMPA
6 | 2023-02-01 | 2023-02-01 | P-980 | Iso Cyclosporin A | 1202.64 | 1202.64 | 1202.64 | PAMPA
7 | 2023-02-01 | 2023-02-01 | P-980 | Vaclosporine | 1214.62 | 1214.62 | 1214.62 | PAMPA
8 | 2023-02-01 | 2023-02-01 | P-980 | Lanreotide | 1096.33 | 1096.33 | 1096.33 | PAMPA
9 | 2023-02-01 | 2023-02-01 | P-980 | Plecanatide | 1681.89 | 1681.89 | 1681.89 | PAMPA
10 | 2023-02-01 | 2023-02-01 | P-980 | Alpha-conotoxin MII | 1710.99 | 1710.99 | 1710.99 | PAMPA
11 | 2023-02-01 | 2023-02-01 | P-980 | α-Amanitin | 918.97 | 918.97 | 918.97 | PAMPA
12 | 2023-02-01 | 2023-02-01 | P-980 | Romidepsin | 540.69 | 540.69 | 540.69 | PAMPA
13 | 2023-02-01 | 2023-02-01 | P-980 | Linaclotide | 1526.74 | 1526.74 | 1526.74 | PAMPA